## TableOfContents
FDA/CDRH Global Unique Device Identification Database (GUDID) Codes, OIDs, Units of Measure and XPATHs GUDID v1.4, 1.5, 1.6.1 & 1.6.2 Production Release Document Update Date: March 27, 2017
This package includes the GUDID v1.4, 1.5, 1.6.1 & 1.6.2 HL7 SPL Production release documentation. The implementation is subject to change as new requirements are implemented for GUDID.
Worksheet | Navigation | Sections | Description
Table of Contents | Current Tab | Current Tab | Outlines the contents of this document.
C-Codes | C-Codes | Device Characteristic | Provides the C-codes used in the GUDID HL7 SPL Implementation.
Device Characteristic - MRI Safety
Device Characteristic - Production Identifier Type
Device Characteristic - Size Type
Device Characteristic - Sterilization Method
Device Characteristic - Storage and Handling
Device Information
Device Information - Device Identifier Type
Device Status
Device Status - Premarket Submission Type
Document Type
Submitter Type
OIDs | OIDs |  | Provides the OIDs used in the GUDID HL7 SPL Implementation.
Units of Measure | UnitsOfMeasure | Angle Area Gauge Length Pressure Total Volume Weight Storage and Handling | Provides the Units of Measure used in the GUDID HL7 SPL Implementation for Size and Storage and Handling data elements.
XPATHs | XPATHs |  | Provides the XPATHs used in the GUDID HL7 SPL Implementation.
Premarket Submission | Premarket Submission |  | Provides Premarket Submission Codes and input requirements.
Change Log | ChangeLog |  | Provides change log for this file

## C-codes
Type | NCIt Code | CDRH-GUDID Preferred Term | FDA CDRH-GUDID definition
Device Characteristic | C101676 | Device is Packaged as Sterile | The medical device is free from viable microorganisms. See ISO/TS 11139.
Device Characteristic | C53602 | Device Labeled for Single Use | A device that is intended for one use, or on a single patient during a single procedure (Title 21 Chapter 9 Federal Food, Drug and Cosmetic Act).
Device Characteristic | C101673 | Labeled as Containing Natural Rubber Latex | The device or packaging contains natural rubber that contacts humans as described under 21 CFR 801.437. The device must be labeled with one of the following statements: (1) Caution: This Product Contains Natural Rubber Latex Which May Cause Allergic Reactions, (2) This Product Contains Dry Natural Rubber, (3) Caution: The Packaging of This Product Contains Natural Rubber Latex Which May Cause Allergic Reactions or (4) The Packaging of This Product Contains Dry Natural Rubber.
Device Characteristic | C106038 | Not Made with Natural Rubber Latex | Natural rubber latex was not used as materials in the manufacture of the medical product and container. Only applicable to devices not subject to the requirements under 21 CFR 801.437.
Device Characteristic | C54068 | Over the Counter (OTC) | Indicates that the device does not require a prescription to use and can be purchased over the counter (OTC).
Device Characteristic | C28180 | Prescription Use (Rx) | Indicates that the device requires a prescription to use.
Device Characteristic - MRI Safety | C113844 | Labeling does not contain MRI Safety Information | Information on the safety of using a device in a magnetic resonance (MR) environment has not been provided in the labeling by the labeler. This information is not required by FDA regulation or the UDI Rule.
Device Characteristic - MRI Safety | C106046 | MR Conditional | A device with demonstrated safety in the MR environment within defined conditions. At a minimum, address the conditions of the static magnetic field, the switched gradient magnetic field and the radiofrequency fields. Additional conditions, including specific configurations of the item, may be required. See ASTM F2503. Reprinted, with permission, from F2503-08 Standard Practice for Marking Medical Devices and Other Items for Safety in the Magnetic Resonance Environment, copyright ASTM International, 100 Barr Harbor Drive, West Conshohocken, PA 19428.
Device Characteristic - MRI Safety | C106045 | MR Safe | The device poses no known hazards resulting from exposure to any MR environment. MR Safe items are composed of materials that are electrically nonconductive, nonmetallic, and nonmagnetic. See ASTM F2503. Reprinted, with permission, from F2503-08 Standard Practice for Marking Medical Devices and Other Items for Safety in the Magnetic Resonance Environment, copyright ASTM International, 100 Barr Harbor Drive, West Conshohocken, PA 19428.
Device Characteristic - MRI Safety | C106047 | MR Unsafe | The device which poses unacceptable risks to the patient, medical staff or other persons within the MR environment. See ASTM F2503. Reprinted, with permission, from F2503-08 Standard Practice for Marking Medical Devices and Other Items for Safety in the Magnetic Resonance Environment, copyright ASTM International, 100 Barr Harbor Drive, West Conshohocken, PA 19428.
Device Characteristic - MRI Safety | C106044 | MRI Safety | Magnetic Resonance Imaging (MRI) Safety indicates that sufficient testing has been conducted to characterize the behavior of the device in the magnetic resonance (MR) environment. See ASTM F2503.
Device Characteristic - Production Identifier Type | C113843 | Donation Identification Number Production Identifier | The device is managed by Donation Identification Number. This number can be found on the device label or packaging. The Donation Identification Number is applicable to devices that are also regulated as HCT/Ps and is a number that is assigned to each donation.
Device Characteristic - Production Identifier Type | C101670 | Expiration Date Production Identifier | The device is managed by expiration date; the date, which appears on the label, by which the device must or should be used.
Device Characteristic - Production Identifier Type | C101672 | Lot or Batch Number Production Identifier | The device is managed by lot or batch number. This number can be found on the device label or packaging. Lot or Batch means one or more components or finished devices that consist of a single type, model, class, size, composition, or software version that are manufactured under essentially the same conditions and that are intended to have uniform characteristics and quality within specified limits.
Device Characteristic - Production Identifier Type | C101669 | Manufacturing Date Production Identifier | The device is managed by date of manufacture; the date a specific device was manufactured.
Device Characteristic - Production Identifier Type | C101671 | Serial Number Production Identifier | The device is managed by serial number. This number can be found on the device label or packaging. The serial number is assigned by the labeler and should be specific to each device.
Device Characteristic - Size Type | C67505 | Angle | The inclination of one line to another or the plane of one object to another.
Device Characteristic - Size Type | C25244 | Area/Surface Area | The extent of a 2-dimensional surface enclosed within a boundary.
Device Characteristic - Size Type | C64265 | Circumference | The length of the closed curve of a circle; the size of something as given by the distance around it.
Device Characteristic - Size Type | C25333 | Depth | The extent downward or inward; the perpendicular measurement from the surface downward to determine deepness.
Device Characteristic - Size Type | C106041 | Device Size Text | Additional undefined device size not represented in the GUDID clinically relevant size list.
Device Characteristic - Size Type | C101680 | Catheter Gauge | A number representing the outer diameter of a catheter where each integer represents 1/3 of a millimeter.
Device Characteristic - Size Type | C96684 | Outer Diameter | The greatest possible length of a straight line passing through the center of a circular or spheroid object that connects two points on the circumference.
Device Characteristic - Size Type | C25347 | Height | The vertical measurement or distance from the base to the top of an object; the vertical dimension of extension.
Device Characteristic - Size Type | C25334 | Length | The linear extent in space from one end of something to the other end, or the extent of something from beginning to end.
Device Characteristic - Size Type | C101685 | Lumen/Inner Diameter | The length of a straight line passing through the center of the inner open space or cavity of a tubular organ and connecting two points on the circumference.
Device Characteristic - Size Type | C101687 | Needle Gauge | A number representing the outer diameter of a hypodermic needle.
Device Characteristic - Size Type | C112332 | Pore size | A quantitative or qualitative measurement of the physical dimensions of the pores in a material.
Device Characteristic - Size Type | C25195 | Pressure | The force applied to a unit area of surface.
Device Characteristic - Size Type | C25335 | Total Volume | The total amount of three dimensional space occupied by an object or the capacity of a space or container.
Device Characteristic - Size Type | C25208 | Weight | The vertical force exerted by a mass as a result of gravity.
Device Characteristic - Size Type | C25345 | Width | The extent or measurement of something from side to side.
Device Characteristic - Sterilization Method | C101691 | Chlorine Dioxide (ClO2) Sterilization | A sterilization process that uses chlorine dioxide (ClO2) gas at ambient temperatures and low concentrations to kill microorganisms.
Device Characteristic - Sterilization Method | C101712 | Dry Heat Sterilization | A sterilization process that uses high temperature and dry air to kill microorganisms.
Device Characteristic - Sterilization Method | C101713 | Ethylene Oxide Sterilization | A sterilization process that uses ethylene oxide (EtO) gas to kill microorganisms.
Device Characteristic - Sterilization Method | C101693 | High Intensity Light or Pulse Light Sterilization | A sterilization process that uses intense and short duration pulses of wavelengths of light from the ultraviolet to the near infrared regions to kill microorganisms.
Device Characteristic - Sterilization Method | C107419 | High-level Disinfectant Sterilization | A germicide that inactivates all microbial pathogens, except small numbers of bacterial endospores.
Device Characteristic - Sterilization Method | C101689 | Hydrogen Peroxide (H2O2) Sterilization | A sterilization process that uses radicals that form from hydrogen peroxide (H2O2) to kill microorganisms.
Device Characteristic - Sterilization Method | C107418 | Liquid Chemical Sterilization | A sterilization process that uses liquid chemical as its sterilant to kill microorganisms.
Device Characteristic - Sterilization Method | C101694 | Microwave Radiation Sterilization | A sterilization process that uses nonionizing radiation at frequencies between 300MHz and 300GHz in the microwave region to kill microorganisms.
Device Characteristic - Sterilization Method | C101714 | Moist Heat or Steam Sterilization | A sterilization process that uses moist air at high temperatures to kill microorganisms.
Device Characteristic - Sterilization Method | C107416 | Nitrogen Dioxide Sterilization | A sterilization process that uses nitrogen dioxide radicals that are formed from dinitrogen tetroxide dimers to kill microorganisms.
Device Characteristic - Sterilization Method | C101690 | Ozone (O3) Sterilization | A sterilization process that uses radicals that form from ozone(O3) gas to kill microorganisms.
Device Characteristic - Sterilization Method | C101697 | Peracetic Acid Sterilization | A sterilization process that uses the vaporized form of a chemical (peracetic acid) to kill microorganisms.
Device Characteristic - Sterilization Method | C101715 | Radiation Sterilization | A sterilization process that uses radiation such as electron beams, X-rays, gamma rays, or subatomic particles to kill microorganisms.
Device Characteristic - Sterilization Method | C101695 | Sound Waves Sterilization | A sterilization process that uses high-frequency sound waves to kill microorganisms.
Device Characteristic - Sterilization Method | C84382 | Sterilization Method | Validated process used to render product free from viable microorganisms. See ISO/TS 11139.D7
Device Characteristic - Sterilization Method | C107417 | Supercritical Carbon Dioxide Sterilization | A sterilization process that uses supercritical carbon dioxide in combination with a small percentage of additive to kill microorganisms.
Device Characteristic - Sterilization Method | C101696 | Ultraviolet Light Sterilization | A sterilization process that uses short wavelength radiation to kill microorganisms.
Device Characteristic - Storage and Handling | C101681 | Handling Environment Atmospheric Pressure | Handling requirements that are indicated for the device; atmospheric pressure under which the product should be operated, e.g., 1000 - 1100 hPa.
Device Characteristic - Storage and Handling | C101682 | Handling Environment Humidity | Handling requirements that are indicated for the device; relative humidity in volume percent under which the product should be operated, e.g., 0 - 20 %.
Device Characteristic - Storage and Handling | C101683 | Handling Environment Temperature | Handling requirements that are indicated for the device; environmental temperature range under which the device may be operated.
Device Characteristic - Storage and Handling | C101704 | Special Storage Conditions | Any special storage requirements for this device.
Device Characteristic - Storage and Handling | C101705 | Storage Environment Atmospheric Pressure | Storage requirements that are indicated for the device; atmospheric pressure under which the product should be stored, e.g., 1000 - 1100 hPa.
Device Characteristic - Storage and Handling | C101706 | Storage Environment Humidity | Storage requirements that are indicated for the device; relative humidity in volume percent under which the product should be stored, e.g., 0 - 20 %.
Device Characteristic - Storage and Handling | C101707 | Storage Environment Temperature | Storage requirements that are indicated for the device; environmental temperature range under which the device should be stored.
Device Information | C99286 | Catalog Number | The catalog, reference, or product number found on the device label or accompanying packaging to identify a particular product.
Device Information | C101679 | Device Subject to Direct Marking (DM), but Exempt | The device is exempt from Direct Marking requirements under 21 CFR 801.50.
Device Information | C99285 | Model Number | The identifier assigned to a particular design of a device.
Device Information - Device Identifier Type | C101678 | Direct Marking (DM) Device Identifier | An identifier that is marked directly on the medical device and is different than the Primary DI; only applicable to devices subject to Direct Marking requirements under 21 CFR 801.50.
Device Information - Device Identifier Type | C125195 | Previous Device Identifier | Device Identifier assigned to a version/model of a medical device prior to the assignment of a new/substitute device identifier to that same version or model, without any changes to the device itself, due to merger and acquisition activity.
Device Information - Device Identifier Type | C101724 | Secondary DI Number | An identifier that is an alternate (secondary) lookup for a medical device that is issued from a different issuing agency than the primary DI.
Device Information - Device Identifier Type | C101717 | Unit of Use Device Identifier | An identifier assigned to associate the use of a device on a patient. This is for use when a UDI is not assigned to the individual device at the level of its Unit of Use. For example, a Unit of Use DI would be assigned to an individual electrode when the electrode is distributed in a package of 10.
Device Status | C54696 | Combination Product | (1) A product comprised of two or more regulated components, i.e., drug/device, biologic/device, drug/biologic or drug/device/biologic that are physically, chemically or otherwise combined or mixed and produced as a single entity. (2) Two or more separate products packaged together in a single package or as a unit and comprised of drug and device products, device and biological products, or biological and drug products; (3) A drug, device or biological product packaged separately that according to its investigational plan or proposed labeling is intended for use only with an approved individually specified drug, device or biological product where both are required to achieve the intended use, indication, or effect and where upon approval of the proposed product the labeling of the approved product would need to be changed e.g., to reflect a change in intended use, dosage form, strength, rout of administration, or significant change in dose; or (4) Any investigational drug, device or biological product packaged separately that according to its proposed labeling is for use only with another individually specified investigational drug, device or biological product where both are required to achieve the intended use, indication or effect.
Device Status | C101677 | FDA Device Listing Number | Number assigned by FDA during Registration and Listing to all devices in commercial distribution, regardless of pre-market authorization requirements, per 21 CFR 807.28(f). See 21 CFR 807 for all Registration and Listing requirements.
Device Status | C101674 | Human Cell, Tissue, or Cellular or Tissue-based Product ¦ HCT/P | Human cell, tissue, or cellular or tissue-based product (HCT/P) contains or consists of human cells or tissues that are intended for implantation, transplantation, infusion, or transfer into a human recipient as defined under 21 CFR 1271.3.
Device Status | C50021 | Kit | A collection of objects or devices collected together for a particular function or purpose.
Device Status - Premarket Submission Type | C71778 | Biologics License Application | A formal submission to FDA from any legal person or entity to obtain permission for manufacturing and marketing a biological product subject to licensure under section 351 of the Public Health Service Act. A biologics license application must contains specific information on the manufacturing processes, chemistry, pharmacology, clinical pharmacology and the medical affects of the biologic product, sufficient for the FDA to determine that the establishment and the product meet applicable requirements to ensure the continued safety, purity, and potency of the product, including but not limited to GMPs.
Device Status - Premarket Submission Type | C121843 | De novo Request | Any person who receives a "not substantially equivalent" (NSE) determination in response to a 510(k) for a device that has not been previously classified under the Act may, within 30 days of receiving notice of the NSE determination, submit a de novo request in which they request FDA to make a risk-based classification of the device under section 513(a)(1) of the Act. Alternatively, any person who determines that there is no legally marketed device upon which to base a determination of substantial equivalence may submit a de novo submission in which they request FDA to make a risk-based classification of the device under section 513(a)(1) of the Act without first submitting a 510(k).
Device Status - Premarket Submission Type | C80438 | Exempt Device | A medical device that is exempt from FDA premarket notification requirements.
Device Status - Premarket Submission Type | C80440 | Humanitarian Device Exemption | A premarket submission to FDA for a device intended to benefit patients by treating or diagnosing a condition affecting fewer than 4,000 individuals in the United States per year. An HDE is similar in form and content to a premarket approval (PMA) but is exempt from the effectiveness requirements of a PMA.
Device Status - Premarket Submission Type | C72899 | New Drug Application | A regulatory document submitted to the FDA proposing the approval of a new drug to be marketed and sold in the U.S. It includes supporting data from both animal and human studies that was initially provided in the Investigational New Drug application (IND).
Device Status - Premarket Submission Type | C80441 | Premarket Approval | A premarket submission made to FDA to review and evaluate the safety and effectiveness of a Class III medical device.
Device Status - Premarket Submission Type | C80442 | Premarket Notification | A premarket submission made to FDA to demonstrate that a device to be marketed is at least as safe and effective as a legally marketed device that is not subject to PMA (Premarket Authorization).
Device Status - Premarket Submission Type | C70875 | Product Development Protocol | A regulatory plan or strategy submitted to the FDA proposing the approval of a new device for marketing in the U.S. It includes a demonstration of the safety and efficacy of the device.
Device Status - Premarket Submission Type | C70862 | Supplemental Regulatory Submission | Additional documentary support presented to a regulatory agency to bolster a previous submission.
Document Type | C101716 | Global Unique Device Identification Database Submission ¦ GUDID | The submission of a DI Record through SPL XML Message as a type of SPL Document.
Submitter Type | C101684 | Device Labeler | Any person who causes a label to be applied to a device with the intent that the device will be introduced into interstate commerce without any intended subsequent replacement or modification of the label; and any person who causes the label of a device to be modified with the intent that the device will be introduced into interstate commerce without any subsequent replacement or modification of the label, except that the addition of the name of, and contact information for, a person who distributes the device, without making any other changes to the label, is not a modification for the purposes of determining whether a person is a labeler. Per 21 CFR 801.3.
Submitter Type | C101710 | Third Party Submitter | The third party delegated by a manufacturer to submit regulatory information on behalf of a manufacturer of medical devices.

## OIDs
OID Type | OID | OID Label | FDA Definition
NCI | 2.16.840.1.113883.3.26.1.1 | NCI Thesaurus | NCI Thesaurus is a biomedical thesaurus created specifically to meet the needs of the cancer research community, especially those engaged in translational research NCI Thesaurus is produced by the NCI Enterprise Vocabulary Services project. The NCI Thesaurus is provided under an open content license.
FDA | 2.16.840.1.113883.3.150 | FDA Tracking System | FDA Tracking System OID used for various FDA specific codes and/or approval numbers, FDA Premarket Authorization, FDA Product Codes and FDA Listing Numbers.
FDA | 2.16.840.1.113883.6.303 | FDA Product Classification System | FDA Product Classification System OID used for the GUDID FDA Preferred Term Codes.
Company Name | 1.3.6.1.4.1.519.1 | Dun and Bradstreet | D&B OID used for DUNS Numbers.
GMDN | 2.16.840.1.113883.6.276 | GMDN Agency | GMDN Agency OID used for Preferred Term codes
Issuing Agency | 1.3.160 | GS1 - GTIN | The OID for the GS1 Issuing Agency that will be used in the SPL Submissions
Issuing Agency | 2.16.840.1.113883.6.18 | ICCBBA - ISBT-128 | The OID for the ISBT-128 Code System for the ICCBBA Issuing Agency that will be used in the SPL Submissions
Issuing Agency | 2.16.840.1.113883.6.69 | NDC | The OID for the NDC Code System for the FDA that will be used in the SPL Submissions; Secondary DI Issuing Agency only.
Issuing Agency | 2.16.840.1.113883.6.40 | HIBCC | The OID for the HIBCC Code System for the HIBCC Issuing Agency that will be used in the SPL Submission

## UnitsOfMeasure
NOTE: This list of Units of Measure is current as of the release of this document. As new Units of Measure are identified, the production environment will be updated to accept additional code values. The units of measure are specific to the size type and storage/handling types.
Angle Units of Measure
Size Types | Size Type C-Code | Description | Code
Angle | C67505 | Degree | deg
Area Units of Measure
Size Types | Size Type C-Code | Description | Code
Area/Surface Area | C25244 | Square centimeter | cm2
|  | Square foot | [sft_i]
|  | Square inch | [sin_i]
|  | Square meter | m2
|  | Square millimeter | mm2
Gauge - French Units of Measure
Size Types | Size Type C-Code | Description | Code
Catheter Gauge | C101680 | French | [Ch]
Gauge - Needle Units of Measure
Size Types | Size Type C-Code | Description | Code
Needle Gauge | C101687 | Gauge | G
Note: This unit of measure is not provided in UCUM. The code value is one specific to the GUDID implementation
Length Size Units of Measure
Size Types | Size Type C-Code | Description | Code
Circumference | C64265 | Centimeter | cm
Depth | C25333 | Decimeter | dm
Height | C25347 | Feet | [ft_i]
Length | C25334 | Femtometer | fm
Lumen/Inner Diameter | C101685 | Inch | [in_i]
Outer Diameter | C96684 | Kilometer | km
Pore Size | C112332 | Meter | m
Width | C25345 | Micrometer | um
|  | Millimeter | mm
|  | Nanometer | nm
|  | Picometer | pm
|  | Yard | [yd_i]
Pressure Units of Measure
Size Types | Size Type C-Code | Description | Code
Pressure | C25195 | Hertz | Hz
|  | KiloPascal | kPa
|  | millibar | mbar
|  | Pound per Square Inch | [psi]
Volume Units of Measure
Size Types | Size Type C-Code | Description | Code
Total Volume | C25335 | Centiliter | cL
|  | Cubic Inch | [cin_i]
|  | Cup | [cup_us]
|  | Deciliter | dL
|  | Femtoliter | fL
|  | Fluid Ounce | [foz_us]
|  | Gallon | [gal_us]
|  | Kiloliter | kL
|  | Liter | L
|  | Microliter | uL
|  | Milliliter | mL
|  | Nanoliter | nL
|  | Picoliter | pL
|  | Pint | [pt_us]
|  | Quart | [qt_us]
Weight Units of Measure
Size Types | Size Type C-Code | Description | Code
Weight | C25208 | Gram | g
|  | Kilogram | kg
|  | Metric Ton | t
|  | Microgram | ug
|  | Milligram | mg
|  | Pound | [lb_av]
|  | Ton | [ston_av]
Storage and Handling Units of Measure
Types | C-Code | Description | Code
Storage Environment Atmospheric Pressure | C101705 | KiloPascal | kPa
|  | millibar | mbar
|  | Inches of Mercury | in[Hg]
|  | Millimeter of Mercury | mm[Hg]
Storage Environment Humidity | C101706 | Percent (%) Relative Humidity | Percent
Storage Environment Temperature | C101707 | Degrees Celsius | Cel
|  | Degrees Fahrenheit | [degf]
|  | Degrees Kelvin | K
Handling Environment Atmospheric Pressure | C101681 | KiloPascal | kPa
|  | millibar | mbar
|  | Inches of Mercury | in[Hg]
|  | Millimeter of Mercury | mm[Hg]
Handling Environment Humidity | C101682 | Percent (%) Relative Humidity | Percent
Handling Environment Temperature | C101683 | Degrees Celsius | Cel
|  | Degrees Fahrenheit | [degf]
|  | Degrees Kelvin | K

## XPATHs
Field Name on Device Identifier (DI) Record Details | Description | Required? | Entry Field Type | Field Length | Entry List of Values (LOV) | XPATH
Note: This table is provided as a quick glance of the SPL data elements in the order they appear in the XML. Detailed instructions, conformance and business rules are listed in the GUDID SPL Implementation Specification Document.
GUDID submission
GUDID Document Identifier | This is a globally unique identifier that is used to uniquely identify the GUDID SPL Submission. | 1..1 Required | N/A | 36 | N/A | /document/id/@root
Document Type - Code | This is a globally unique identifier that is used to uniquely identify the GUDID SPL Submission by type. | 1..1 Required | N/A | 36 | C101716 | /document/code/@code
Document Type - Code System | This is an OID associated with the code value for the document type. | 1..1 Required | N/A | 36 | 2.16.840.1.113883.3.26.1.1 | /document/code/@codeSystem
DI Record Publish Date - xsi:type | This indicates the datatype of the data element for effectiveTime. | 1..1 Required | N/A | 2 | TS | /document/effectiveTime/@xsi:type
DI Record Publish Date | Indicates the date the DI Record is published and available via Public Search. | 1..1 Required | Numeric (yyyymmdd) | 8 | N/A | /document/effectiveTime/@value
DI Record SPL SetId | This is a globally unique identifier that establishes a set of SPL documents that relate to the DI Record (i.e., initial submission and subsequent submissions). | 1..1 Required | Alphanumeric | 36 | N/A | /document/setId/@root
DI Record SPL Version Number | This is a number to tract the iteration of the DI Record within the set. | 1..1 Required | Numeric | 5 | N/A | /document/versionNumber/@value
Submitter Information
Submitter Type - Code | The submitter of the GUDID submission is identified by a code. | 1..1 Required | Alphanumeric | 10 | C101684 Labeler C101710 Third-Party | /document/author/assignedEntity/representedOrganization/assignedEntity1/code/@code
Submitter Type - Code System | The code system for the coded value for the type of submitter | 1..1 Required | Alphanumeric | 36 | 2.16.840.1.113883.3.26.1.1 | /document/author/assignedEntity/representedOrganization/assignedEntity1/code/@codeSystem
Submitter DUNS - D&B Code OID | The OID for D&B is provided in the id@root element | 1..1 Required | Alphanumeric | 36 | 1.3.6.1.4.1.519.1 | /document/author/assignedEntity/representedOrganization/assignedEntity1/representedOrganization/id/@root
Submitter DUNS Number | The DUNS number for the Submitting organization. | 1..1 Required | Numeric | 9 | N/A | /document/author/assignedEntity/representedOrganization/assignedEntity1/representedOrganization/id/@extension
Product Information - Manufactured Product
Primary DI Number | An identifier that is the main (primary) lookup for a medical device and meets the requirements to uniquely identify a device through its distribution and use. The primary DI number will be located on the base package, which is the lowest level of a medical device containing a full UDI. | 1..1 Required | Alphanumeric or Numeric | 6-23* * defined by Issuing Agency structure. | N/A | /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/code/@code
Issuing Agency | Organization accredited by FDA to operate a system for the issuance of UDIs. | 1..1 Required | Alphanumeric | 30 | GS1 (OID: 1.3.160), HIBCC (OID: 2.16.840.1.113883.6.40) ICCBBA (OID: 2.16.840.1.113883.6.18) | /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/code/@codeSystem
Brand Name | The Proprietary/Trade/Brand name of the medical device as used in device labeling or in the catalog. This information may 1) be on a label attached to a durable device, 2) be on a package of a disposable device, or 3) appear in labeling materials of an implantable device. The brand name is the name that is typically registered with USPTO and have the ® and/or TM symbol. | 1..1 Required | Alphanumeric | 80 | N/A | /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/name/text()
Device Description | Additional relevant information about the device that is not already captured as a distinct GUDID data attribute. | 0..1 Not Required | Alphanumeric | 2000 | N/A | /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/desc/text()
Version or Model | The version or model found on the device label or accompanying packaging used to identify a category or design of a device. The version or model identifies all devices that have specifications, performance, size, and composition within limits set by the labeler. | 1..1 Required | Alphanumeric | 80 | C99285 – Model Number | /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asIdentifiedEntity/code[@code="C99285"]/../id/@extension
Catalog Number | The catalog, reference, or product number found on the device label or accompanying packaging to identify a particular product | 0..1 Not Required | Alphanumeric | 80 | C99286 – Catalog Number | /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asIdentifiedEntity/code[@code="C99285"]/../id/@extension
Product Code | Classification for devices issued by the FDA. | 0..* Conditionally Required* *Unless device is a Kit or Licensed IVDs | Alpha | 3 | Internal db | /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asSpecializedKind/generalizedMaterialKind/code[@codeSystem="2.16.840.1.113883.3.150"]/@code
GMDN Preferred Term Code | Unique numerical five-digit number used to generically identify medical devices and related health care products. | 1..* Required - GMDN PT Code | Numeric | 5 | GMDN List | /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asSpecializedKind/generalizedMaterialKind/code[@codeSystem="2.16.840.1.113883.6.276"]/@code
Additional or Alternative Identifier
Secondary DI Number | An identifier that is an alternate (secondary) lookup for a medical device that is issued from a different issuing agency than the primary DI. Under 21 CFR 830.40(a), only one device identifier from any particular system for the issuance of UDIs may be used to identify a particular version or model of a device. | 0..* Not required | Alphanumeric or Numeric | 6-23* * defined by Issuing Agency structure. | C101724 – Secondary Device Identifier | /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asEquivalentEntity/code[@code="C101724"]/../definingMaterialKind/code/@code
Issuing Agency of Secondary DI | Name of Secondary DI Issuing agency. | 1..1 Required if there is a secondary DI | Alphanumeric | 30 | GS1 (OID: 1.3.160), HIBCC (OID: 2.16.840.1.113883.6.40) ICCBBA (OID: 2.16.840.1.113883.6.18) NDC (OID: 2.16.840.1.113883.6.69) | /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asEquivalentEntity/code[@code="C101724"]/../definingMaterialKind/code/@codeSystem
Previous DI Number | Device Identifier assigned to a version/model of a medical device prior to the assignment of a new/substitute device identifier to that same version or model, without any changes to the device itself, due to merger and acquisition activity. | 0..* Not required | Alphanumeric or Numeric | 6-23* * defined by Issuing Agency structure. | C125195 – Previous Device Identifier | /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asEquivalentEntity/code[@code="C125195"]/../definingMaterialKind/code/@code
Issuing Agency of Previous DI | Name of Previous DI Issuing agency. | 1..1 Required if there is a Previous DI | Alphanumeric | 30 | GS1 (OID: 1.3.160), HIBCC (OID: 2.16.840.1.113883.6.40) ICCBBA (OID: 2.16.840.1.113883.6.18) NDC (OID: 2.16.840.1.113883.6.69) | /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asEquivalentEntity/code[@code="C125195"]/../definingMaterialKind/code/@codeSystem
DM DI Number | An identifier that is marked directly on the medical device and is different than the Primary DI Number; only applicable to devices subject to Direct Marking requirements under 21 CFR 801.45. | 0..1 Conditionally Required* *If device is subject to 801.45 | Alphanumeric or Numeric | 6-23* * defined by Issuing Agency structure. | C101678 – DPM Device Identifier | /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asEquivalentEntity/code[@code="C101678"]/../definingMaterialKind/code/@code
Unit of Use DI Number | An identifier assigned to an individual medical device when a UDI is not labeled on the individual device at the level of its unit of use. Its purpose is to associate the use of a device to/on a patient. | Conditionally Required* *If Device Count >1. | Alphanumeric or Numeric | 6-23* * defined by Issuing Agency structure. | C101717 – Unit of Use Device Identifier | /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asEquivalentEntity/code[@code="C101717"]/../definingMaterialKind/code/@code
Package Information |  | 0..* Not required |  |  |  | If a package configuration is provided, the following elements may be required
Device Count | Number of medical devices in the base package. For example, Base Package = Box of 100 gloves; Primary DI = 101; Device Count = 100. | 1..1 Required | Numeric | 7 | N/A | /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asContent/quantity/numerator/@value
Contains DI Package | The Primary DI for the base package or the Package DI for any lower level package configuration contained within a given package configuration. For example: Package DI=002 and Package DI=003 contain the base package Case with primary DI=001; Package DI=004 contains lower level package configuration of a Carton with Package DI=003. | 1..1 This is the base/ primary DI Number or the DI Number for the container package | Alphanumeric or Numeric | 6-23* * defined by Issuing Agency structure. | Nested hierarchy | /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asContent/containerPackagedProduct/asContent/containerPackagedProduct/code/@code
Quantity per Package | The number of packages with a unique primary DI within a given packaging configuration. For example: Package configuration Carton with Package DI=201 contains 4 boxes of the base package DI=101, the quantity per package is 4; Package configuration Case with Package DI=301 contains 5 cartons of Package DI=201, the quantity per package is 5. Package configuration Carton with Package DI=202 contains 10 boxes of the base package DI=101; the quantity per package is 10. | 1..1 Required | Numeric | 40 | N/A | /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asContent/containerPackagedProduct/asContent/containerPackagedProduct/capacityQuantity/@value
Package Type | Text to describe the outer packaging of the product and enables users to understand higher level packaging configurations. | 0..1 Not Required | Alphanumeric | 20 | N/A | /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asContent/containerPackagedProduct/name
Package DI Number | A device identifier for the package configuration that contains multiple units of the base package (does not include shipping containers). For example: 4 glove boxes in a Carton -- Package DI =201 (the UDI on the Carton) 5 Cartons in a Case -- Package DI=301 (the UDI on the Case) contains a 5 cartons (with DI 201) with 4 glove boxes in a carton 10 glove boxes in a Carton -- Package DI=202 (the UDI on the Carton). | 0..1 Conditionally Required* *If device is available in higher levels of packaging | Alphanumeric or Numeric | 6-23* * defined by Issuing Agency structure. | N/A | XPATH Varies - the values are nested in the XML based on the package configurations.
Package Discontinue Date | Indicates the date this particular package configuration is discontinued by the labeler. | 0..1 Conditionally Required* *If Package DI Number and Commercial Distribution End Date are entered, must also enter Package Discontinue Date | Numeric (yyyymmdd) | 8 | N/A | /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asContent/containerPackagedProduct/asManufacturedProduct/subjectOf/marketingAct/effectiveTime/high/@value
Product Information - Labeler
Labeler Type - Code | The submitter of the GUDID submission is identified by a code. | 1..1 Required | Alphanumeric | 10 | C101684 | /document/author/assignedEntity/representedOrganization/assignedEntity1/code/@code
Labeler Type - Code System | The code system for the coded value for the type of submitter | 1..1 Required | Alphanumeric | 36 | 2.16.840.1.113883.3.26.1.1 | /document/author/assignedEntity/representedOrganization/assignedEntity1/code/@codeSystem
Labeler DUNS - D&B Code OID | The OID for D&B is provided in the id@root element | 1..1 Required | Alphanumeric | 36 | 1.3.6.1.4.1.519.1 | /document/author/assignedEntity/representedOrganization/assignedEntity1/representedOrganization/id/@root
Labeler DUNS Number | Business number issued by Dun & Bradstreet (D&B) that is used to associate the Labeler (Company) name and address to a given version of model of a device in GUDID. | 1..1 Required | Numeric | 9 | D&B DUNS Link Managed (OID: 1.3.6.1.4.1.519.1) | /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/document/author/assignedEntity/representedOrganization/assignedEntity1/code[@code="C101684"]/../representedOrganization/id/@extension
Customer Contact Information |  | 0..*
Customer Contact Email | Email for the Customer contact; to be used by patients and consumers for device-related questions. | 1..1 Conditionally Required* *ONLY required if Customer Contact is provided | Alphanumeric | 100 | N/A | /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/document/author/assignedEntity/representedOrganization/contactParty/code[@code="C101701"]/../telecom[starts-with(@value, 'mailto:')]/@value
Customer Contact Phone | Phone number for the Customer contact; to be used by patients and consumers for device-related questions. | 1..1 Conditionally Required* *ONLY required if Customer Contact is provided | Alphanumeric | 20 (10) | N/A | /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/document/author/assignedEntity/representedOrganization/contactParty/code[@code="C101701"]/../telecom[starts-with(@value, 'tel:')]/@value
Product Status - Premarket Submission Status | Note: Either the product should be marked as an Exempt Device (i.e., Exempt from Premarket Authorization) or should include one or more Premarket Authorization numbers. | 1..*
Device Exempt from Premarket Submission | FDA Premarket submission is not required for this device. | 0..1 Conditionally Required* *Premarket Submission Number OR exempt status fulfills regulatory requirement | Alphanumeric* *Note: the presence of a code marks the value as "true" | 7 | C80438 – Exempt Device | /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/approval/id/@extension="C80438"
FDA Premarket Submission Number | Number associated with the regulatory decision regarding the applicant’s legal right to market a medical device for the following submission types: 510(k), PMA, PDP, HDE, BLA, and NDA. | 1..* Conditionally Required* *Premarket Submission Number OR exempt status fulfills regulatory requirement. Not required for Kits. Required for HCT/Ps. | Alphanumeric | 6, 7 or 8 | See Code List for Premarket Submission Types | /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/approval/code[@code!="C101677"]/../id/@extension
Supplement Number | Number assigned by FDA to a supplemental application for approval of a change in a medical device with an approved PMA, HDE, BLA or PDP. | 0..1 Conditionally Required* *Premarket Submission Number OR exempt status fulfills regulatory requirement | Alphanumeric | 3 or 4 | C70862 – Regulatory Supplement | /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/approval/code[@code!="C101677"]/../component/approval/code[@code="C70862"]/../id/@extension
Product Status - FDA Listing
FDA Listing Number | Number assigned by FDA during Registration and Listing to all devices in commercial distribution, regardless of pre-market authorization requirements per 21 CFR 807.28(f). | 0..* Required for all medical devices except for HCT/Ps, Kits, and IVDs (BL premarket submission number). | Alphanumeric | 7 | C101677 – FDA Listing Number | /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/approval/code[@code="C101677"]/../id/@extension
Commercial Distribution End Date |  | 0..1
Commercial Distribution End Date | Indicates the date the device is no longer held or offered for sale. See 21 CFR 807.3(b) for exceptions. The device may or may not still be available for purchase in the marketplace. | 0..1 | Numeric (yyyymmdd) | 8 | N/A | /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/marketingAct/effectiveTime/high/@value
Device Characteristics - Clinically Relevant Size |  | 0..* |  |  |  | The following elements pertain if a clinically relevant size is provided.
Size Type | Dimension type for the clinically relevant measurement of the medical device. | 1..1 required if size measurement is provided | Alphanumeric | 20 | See Code List (e.g., Length (C25334)) | Needs xpath for each size type. Example below: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C25334"]
Size Value | Numeric value for the clinically relevant size measurement of the medical device. | 1..1 required if size measurement is provided | Numeric | 40 | N/A | /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C25334"]/../value/@value
Size Unit of Measure | The unit of measure associated with each clinically relevant size. The unit of measure must conform to UCUM standards. | 1..1 required if size measurement is provided | LOV | N/A | See Units of Measure tab | /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C25334"]/../value/@unit
Device Size Text | Additional undefined device size not represented in the GUDID clinically relevant size list. | 1..1 required if size type is "Other Size Text, specify" | Alphanumeric | 200 | Other Size Text, specify (C106041) | /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C106041"]/../value/text()
Device Characteristics - Storage and Handling Conditions |  | 0..* |  |  |  | The following elements pertain if a storage or handling condition is provided.
Storage and HandlingType | Indicates storage and handling requirements that are required for the device including temperature, humidity, and atmospheric pressure. | 1..1 Required if Storage and Handling is provided | Alphanumeric | 10 | See Code List (e.g., Handling environment atmospheric pressure (C101681)) | There is an xpath for low value, low unit, high value, high unit and text for every storage type. Example provided: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101681"]
Storage and Handling Low Value | Indicates the low value for storage and handling requirements. | 0..1 Conditionally Required* *One value (Low or High) is required if Storage and Handling Type is added to the device record | Numeric | 6 | N/A | There is an xpath for low value, low unit, high value, high unit and text for every storage type. For example, /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101681"]/../value/low/@value /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101706"]/../value/low/@unit
Storage and Handling High Value | Indicates the high value for storage and handling requirements. | 0..1 Conditionally Required* *One value (Low or High) is required if Storage and Handling Type is added to the device record. | Numeric | 6 | N/A | There is an xpath for low value, low unit, high value, high unit and text for every storage type. For example, /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101706"]/../value/high/@value /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101706"]/../value/high/@unit
Storage and Handling Unit of Measure | The unit of measure associated with the storage and handling conditions. | 1..1 Conditionally Required* *Required if Storage and Handling Type is added to the device record | Alphanumeric | 20 | See Units of Measure tab | See XPATH above for low and high values.
Special Storage Conditions | Indicates any special storage requirements for the device. | 0..* Required if Special Storage Condition code found | Alphanumeric | 200 | 101704 - Special Storage Conditions String text value | /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101704"]/../value/text()
Device Characteristics - Sterilization
Device packaged as Sterile | Indicates the medical device is free from viable microorganisms. See ISO/TS 11139. | 1..1 Required | Boolean | 1 | Yes/No (true/false) | /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101676"]/../value/@value
Require Sterilization prior to use | Indicates that the device requires sterilization prior to use. | 1..1 Required | Boolean | N/A | If C84382 – Requires Sterilization is present - then value is marked Yes. If not present, value is marked "No" | /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code/@code="C84382"
Sterilization Method | Indicates the method(s) of sterilization that can be used for this device. | 0..* Conditionally Required* *if 'Requires Sterilization Prior to Use' is marked 'Yes' | Alphanumeric | 200 | C84382 – Requires Sterilization See Code List for Sterilization Method | /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C84382"]/../value/@code
Device Characteristics - MRI Safety
What MRI safety information does the labeling contain? (previously MRI Safety Status) | Indicates the MRI Safety Information, if any, that is present in the device labeling. Please see the ASTM F2503-13 standard for more information. | 1..1 Required | Alphanumeric | 7 | MR Safe; MR Unsafe; MR Conditional; Labeling does not contain MRI Safety Information | /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C106044"]/../value/@value
Device Characteristics - Prescription Status
Prescription Use (Rx) | Indicates that the device requires a prescription to use. | 0..1 Not Required | Boolean | N/A | C28180 - Prescription Use true/false | /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C28180"]/../value/@value
Over the Counter (OTC) | Indicates that the device does not require a prescription to use and can be purchased over the counter (OTC). | 0..1 Not Required | Boolean | N/A | C54068 - Over the Counter true/false | /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C54068"]/../value/@value
Device Characteristics - Production Identifiers
Lot or Batch Number | Indicates the device is managed by lot or batch number. This number can be found on the device label or packaging. Lot or Batch means one finished device or more that consist of a single type, model, class, size, composition, or software version that are manufactured under essentially the same conditions and that are intended to have uniform characteristics and quality within specified limits. | 1..1 Required | Boolean | N/A | C101672 – Lot or Batch Number Production Identifier true/false | /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101672"]/../value/@value
Serial Number | Indicates the device is managed by serial number. This number can be found on the device label or packaging. The serial number is assigned by the labeler and should be specific to each device. | 1..1 Required | Boolean | N/A | C101671 – Serial Number Production Identifier true/false | /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101671"]/../value/@value
Manufacturing Date | Indicates the device is managed by date of manufacture; the date a specific device was manufactured. | 1..1 Required | Boolean | N/A | C101669 – Manufacturing Date Production Identifier true/false | /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101669"]/../value/@value
Expiration Date | Indicates the device is managed by expiration date; the date by which the label of a device states that the device must or should be used. | 1..1 Required | Boolean | N/A | C101670 – Expiration Date Production Identifier true/false | /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101670"]/../value/@value
Donation Identification Number | Indicates the device is managed by a Donation Identification Number. This number can be found on the device label or packaging. The Donation Identification Number is applicable to devices that are also regulated as HCT/Ps and is a number that is assigned to each donation. | 1..1 Required | Boolean | N/A | C113843 - Donation Identification Number Production Identifier true/false | /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C113843"]/../value/@value
Device Characteristics - Uncategorized
Device Subject to Direct Marking (DM), but Exempt | The device is exempt from Direct Marking requirements under 21CFR 801.45. | 0..1 Conditionally Required* *If device is subject to 801.45 | Boolean | N/A | C101679 - Exempt from Direct Marking | /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101679"]/../value/@value
Device required to be labeled as containing natural rubber latex or dry natural rubber (21 CFR 801.437) | Indicates that the device or packaging contains natural rubber that contacts humans as described under 21 CFR 801.437. Choosing 'Yes' indicates that the device label or packaging contains one of the following statements: (1) "Caution: This Product Contains Natural Rubber Latex Which May Cause Allergic Reactions", (2) This Product Contains Dry Natural Rubber", (3) Caution: The Packaging of This Product Contains Natural Rubber Latex Which May Cause Allergic Reactions" or (4) "The Packaging of This Product Contains Dry Natural Rubber". | 1..1 Required | Boolean | N/A | C101673 – Labeled as Containing Natural Rubber Latex true/false | /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101673"]/../value/@value
Device labeled as "Not made with natural rubber latex" | Indicates that natural rubber latex was not used as materials in the manufacture of the medical product and container and the device labeling contains this information. Only applicable to devices not subject to the requirements under 21 CFR 801.437. Not all medical products that are NOT made with natural rubber latex will be marked. | 0..1 Not Required | Boolean | N/A | C106038 – Not Made with Natural Rubber Latex true/false | /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C106038"]/../value/@value
For single-use | Indicates that the device is intended for one use or on a single patient during a single procedure. | 1..1 Required | Boolean | N/A | C53602 – Single Use true/false | /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C53602"]/../value/@value
Human Cell, Tissue or Cellular or Tissue-Based Product (HCT/P) | Indicates that the product contains or consists of human cells or tissues that are intended for implantation, transplantation, infusion, or transfer into a human recipient as defined under 21 CFR 1271.3. | 0..1 Not Required | Boolean | N/A | C101674 – Human Cells or Tissue Product true/false | /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101674"]/../value/@value
Kit | Indicates that the device is a convenience, combination, in vitro diagnostic (IVD), or medical procedure kit. Kits are a collection of products, including medical devices, that are packaged together to achieve a common intended use and is being distributed as a medical device. | 0..1 Not Required | Boolean | N/A | C50021 – Kit Product true/false | /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C50021"]/../value/@value
Combination Product | Indicates that the product is comprised of two or more regulated products that are physically, chemically, or otherwise combined or mixed and produced as a single entity; packaged together as a single package; or packaged separately for the intended use together as defined under 21 CFR 3.2(e). At least one of the products in the combination product must be a device in this case. | 0..1 Not Required | Boolean | N/A | C54696 – Combo Product true/false | /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C54696"]/../value/@value

## PremarketSubmission
Center | Premarket Submission Number Code | Premarket Submission Type | Premarket Submission Prefix | Submission Number Format | Premarket Submission Supplement Code | Supplement Number Format | Supplement number submission in HL7 SPL | GUDID Web Interface Display*
CDRH | C80441 | PMA | P | 1 alpha, 6 digits | C70862 | 1-3 digits | 1 11 111 | 001 -- system will pad zeros to show 3 digits 011 -- system will pad zeros to show 3 digits 111- no modifications
CDRH | C80442 | 510(k) | K | 1 alpha, 6 digits | C70862 | 1-3 digits | same as CDRH PMA | same as CDRH PMA
CDRH | C121843 | De novo | DEN | 3 alpha, 6 digits | C70862 | 1-3 digits | same as CDRH PMA | same as CDRH PMA
CDRH | C80440 | HDE | H | 1 alpha, 6 digits | C70862 | 1-3 digits | same as CDRH PMA | same as CDRH PMA
CDRH | C70875 | PDP | D or N | 1 alpha, 6 digits | C70862 | 1-3 digits | same as CDRH PMA | same as CDRH PMA
CDRH | C72899 | NDA | N | 1 alpha, 5 or 6 digits | C70862 | 1-3 digits | same as CDRH PMA | same as CDRH PMA
CBER | C80441 | PMA | BP | 2 alpha, 6 digits | C70862 | 1-4 digits | 1 11 111 1111 | 1 -- zeros are NOT padded 11 -- zeros are NOT padded 111 -- zeros are NOT padded 1111 - no modifications
CBER | C80442 | 510(k) | BK | 2 alpha, 6 digits | C70862 | 1-4 digits | same as CBER PMA | same as CBER PMA
CBER | C80440 | HDE | BH | 2 alpha, 6 digits | C70862 | 1-4 digits | same as CBER PMA | same as CBER PMA
CBER | C71778 | BLA (Licensed IVD) | BL | 2 alpha, 6 digits | C70862 | 1-4 digits | same as CBER PMA | same as CBER PMA
* CDRH supplements are padded with zeros for GUDID Web Interface display; CBER supplements are NOT padded with zeros for GUDID Web Interface display

## ChangeLog
GUDID HL7 SPL Implementation Package GUDID SPL Code List Change Log Updated: March 27, 2017
GUDID HL7 SPL Code List Revision History
Date | Sheet | History | Recommended Implementation changes
2017-03-27 | C-Codes | Added a C-code for Previous DI
| Xpaths | Added 2 rows to provide Previous DI Information Updated "Field Length" for Version or Model and Catalog to 80 chars (previously 40 chars) Removed Code C101710 from Row 41, Labeler Type -code
2016-04-14 | C-codes | Added row for premarket submission type - De novo Request
| Premarket Submission | Added row for premarket submission type - De novo Request Updated PDP submission prefix to show 'D or N'
2024-11-06 | XPATHS | Removed FDA PT code reference