2020-260573 |  |  | female |  | UNITED STATES | Other: Legal |  | 01-NOV-2016 | Serious Injury | I was In so much pain [PT: Pelvic pain] I hurt all and bleed uncontrollably [PT: Genital haemorrhage] I had a miscarriage last year April 1st [PT: Abortion spontaneous] Pregnant [PT: Pregnancy with contraceptive device] Pregnant [PT: Device ineffective] | ESS305 |  |  | Yes |  |  |  | Yes | Yes | No | No | No | Yes | Pregnancy loss | Yes | No | No |  | 10-DEC-2020 | Not Returned to Manufacturer | 3193: Pregnancy 1962: Miscarriage 1994: Pain | 2993: No Known Device Problem | 4119: Insufficient Information Available | 3221: No Results Available Since No Evaluation Performed | 67: Unable To Confirm Complaint
2020-260577 |  |  | female |  | UNITED STATES | Other: Legal |  | 01-NOV-2016 | Serious Injury | loseteeth or have dental problemsafter removal [PT: Tooth disorder] fibroids [PT: Uterine leiomyoma] stomach bloating [PT: Abdominal distension] high blood pressure because of essure [PT: Blood pressure increased] Cramping [PT: Abdominal pain] Sharp pelvic pain,had it done a year ago...hysterectomyleaving just ovaries. No complications [PT: Pelvic pain] abnormal menses [PT: Menstrual disorder] bacterial vaginosis [PT: Bacterial vaginosis] painful ovulation [PT: Ovulation pain] itching /stinging vagial entrance [PT: Vulvovaginal pruritus] back pain [PT: Back pain] bowel issues [PT: Abdominal discomfort] Headaches [PT: Headache] dizziness [PT: Dizziness] brain fog [PT: Feeling abnormal] anxiety attacks [PT: Anxiety] Mood swings [PT: Mood swings] depression [PT: Depression] diminished brain function (forgetfullness) [PT: Memory impairment] numbness/tingling in extremities [PT: Hypoaesthesia] vitamin D deficiency [PT: Vitamin D deficiency] boils/acne [PT: Acne] skin irritiation/itching [PT: Skin irritation] hair loss [PT: Alopecia] gallbladder issues (stone/removal) [PT: Cholecystectomy] liver problems [PT: Liver disorder] vision problems (blurred vision, decreased vision) [PT: Visual impairment] weight gain [PT: Weight increased] dry skin and hair [PT: Dry skin] dry skin and hair [PT: Hair texture abnormal] my left foot swelled like a damn raft [PT: Peripheral swelling] experiencedunexplained Hives [PT: Urticaria] the nickel is what caused most of it. [PT: Allergy to metals] Fatigue, [PT: Fatigue] | ESS305 |  | ??-SEP-2009 | Yes |  |  |  | No | No | No | No | No | No |  | Yes | No | No |  | 10-DEC-2020 | Not Returned to Manufacturer | 1994: Pain | 2993: No Known Device Problem | 4119: Insufficient Information Available | 3221: No Results Available Since No Evaluation Performed | 67: Unable To Confirm Complaint
2020-260579 |  |  | female |  | UNITED STATES | Other: Legal |  | 01-NOV-2016 | Serious Injury | Pain [PT: Pelvic pain] bloated (me too) [PT: Abdominal distension] Menopause [PT: Menopause] Hot flashes [PT: Hot flush] sweating [PT: Hyperhidrosis] migrated to my uterus (Hysterectomy) [PT: Device expulsion] | ESS305 |  |  | Yes |  |  |  | No | No | No | No | No | No |  | Yes | No | No | 29-DEC-2015 | 10-DEC-2020 | Not Returned to Manufacturer | 2687: Foreign Body In Patient | 2993: No Known Device Problem | 4119: Insufficient Information Available | 3221: No Results Available Since No Evaluation Performed | 67: Unable To Confirm Complaint
2020-260580 |  |  | female |  | UNITED STATES | Other: Legal |  | 01-NOV-2016 | Serious Injury | My essure was done in 2008. It was anightmare from procedure to the hysterectomy 3-4 months later [PT: Nightmare] have a hysterectomy because of the left coil. It migrated through thetube and into my uterus. [PT: Device expulsion] | ESS305 |  | ??-???-2008 | Yes |  |  |  | No | No | No | No | No | No |  | Yes | No | No |  | 10-DEC-2020 | Not Returned to Manufacturer | 2687: Foreign Body In Patient | 2993: No Known Device Problem | 4119: Insufficient Information Available | 3221: No Results Available Since No Evaluation Performed | 67: Unable To Confirm Complaint
2020-260581 |  |  | female |  | UNITED STATES | Other: Legal | ??-MAY-2014 | 01-NOV-2016 | Serious Injury | In two weeks I will be having this removed as it has taken the last 5yrs of my prime life away from me and my two kids. [PT: Medical device removal] | ESS305 |  |  | Yes | ??-MAY-2014 |  |  | No | No | No | No | No | No |  | No | No | No |  | 10-DEC-2020 | Not Returned to Manufacturer | 3191: No Code Available | 2993: No Known Device Problem | 4119: Insufficient Information Available | 3221: No Results Available Since No Evaluation Performed | 67: Unable To Confirm Complaint
2020-260582 |  |  | female |  | UNITED STATES | Other: Legal |  | 01-NOV-2016 | Serious Injury | Still not very hungry. I have lost 12 pounds already. [PT: Decreased appetite] Still not very hungry. I have lost 12 pounds already. [PT: Weight decreased] Left side was fractured and right side had migrated. [PT: Device breakage] Left side was fractured and right side had migrated. [PT: Device dislocation] Months later I had non stop bleeding and cramping. [PT: Menometrorrhagia] Months later I had non stop bleeding and cramping. [PT: Muscle spasms] | ESS305 |  | ??-FEB-2014 | Yes | 16-JUL-2015 |  |  | No | No | No | No | No | No |  | Yes | Yes | No |  | 10-DEC-2020 | Not Returned to Manufacturer | 3165: Device Fragments In Patient | 1069: Break | 4119: Insufficient Information Available | 3221: No Results Available Since No Evaluation Performed | 67: Unable To Confirm Complaint
2020-260583 |  |  | female |  | UNITED STATES | Other: Legal |  | 01-NOV-2016 | Serious Injury | pain so bad [PT: Pelvic pain] Fever [PT: Pyrexia] chills [PT: Chills] feel like she waspregnant at times [PT: Feeling abnormal] pregnant look wore it for years [PT: Abdominal distension] | ESS305 |  | 15-SEP-2015 | Yes |  |  |  | No | No | No | No | No | No |  | Yes | No | No | 16-SEP-2015 | 10-DEC-2020 | Not Returned to Manufacturer | 1994: Pain | 2993: No Known Device Problem | 4119: Insufficient Information Available | 3221: No Results Available Since No Evaluation Performed | 67: Unable To Confirm Complaint
2020-260584 |  |  | female |  | UNITED STATES | Other: Legal |  | 28-FEB-2020 | Serious Injury | It went my body into permanent chronic inflammatory response. I had a lots of problems since I got them in, but the only way to remove them is full hysterectomy.they are out and im ok [PT: Inflammation] It went my body into permanent chronic inflammatory response. I had a lots of problems since I got them in, but the only way to remove them is full hysterectomy.they are out and im ok [PT: Adverse event] only way to remove them is full hysterectomy [PT: Medical device removal] | ESS305 |  |  | Yes |  |  |  | No | No | No | No | No | No |  | No | Yes | No |  | 10-DEC-2020 | Not Returned to Manufacturer | 3191: No Code Available | 2993: No Known Device Problem | 4119: Insufficient Information Available | 3221: No Results Available Since No Evaluation Performed | 67: Unable To Confirm Complaint
2020-260586 |  |  | female |  | UNITED STATES | Other: Legal |  | 01-NOV-2016 | Serious Injury | Yep [PT: Endometriosis] Hernia [PT: Hernia] Breast biopsies [PT: Biopsy breast] pain [PT: Pelvic pain] threw up a lot [PT: Vomiting] That has been a constant thing for me all my life. Ihave several female friends (no essure) that have low vit D as theyage as well. [PT: Vitamin D decreased] | ESS305 |  |  | Yes |  |  |  | No | No | No | No | No | No |  | Yes | No | No |  | 10-DEC-2020 | Not Returned to Manufacturer | 1994: Pain | 2993: No Known Device Problem | 4119: Insufficient Information Available | 3221: No Results Available Since No Evaluation Performed | 67: Unable To Confirm Complaint
2020-260587 |  |  | female |  | UNITED STATES | Other: Legal |  | 01-NOV-2016 | Serious Injury | feel so sick [PT: Malaise] scary feeling [PT: Fear] demons are protruding [PT: Device dislocation] rashes [PT: Rash] surgery [PT: Surgery] ademosis. [PT: Adenomyosis] pains [PT: Pain] | ESS305 |  |  | No |  |  |  | No | No | No | No | No | No |  | No | No | No | 22-AUG-2014 | 10-DEC-2020 | Not Returned to Manufacturer | 2687: Foreign Body In Patient | 2993: No Known Device Problem | 4119: Insufficient Information Available | 3221: No Results Available Since No Evaluation Performed | 67: Unable To Confirm Complaint
2020-260588 |  |  | female |  | UNITED STATES | Other: Legal |  | 01-NOV-2016 | Serious Injury | hysterectomy [PT: Medical device removal] migratedinto my uterus [PT: Device dislocation] surgery [PT: Surgery] cysts [PT: Cyst] | ESS305 |  |  | Yes |  |  |  | No | No | No | No | No | No |  | Yes | No | No | 04-MAR-2015 | 10-DEC-2020 | Not Returned to Manufacturer | 2687: Foreign Body In Patient | 2993: No Known Device Problem | 4119: Insufficient Information Available | 3221: No Results Available Since No Evaluation Performed | 67: Unable To Confirm Complaint
2020-260590 |  |  | female |  | UNITED STATES | Other: Legal |  | 01-NOV-2016 | Serious Injury | I have broken 6 teeth in 10 years after essure [PT: Tooth fracture] hair loss [PT: Alopecia] looks like what I had-Auto Immune. Leukocytoclastic Vasculitis. [PT: Hypersensitivity vasculitis] I was told it was better to remove it, less risk of cancer (removal of cervix with hysterectomy) [PT: Medical device removal] | ESS305 |  | ??-???-2007 | Yes |  |  |  | No | No | No | No | No | No |  | No | No | No |  | 10-DEC-2020 | Not Returned to Manufacturer | 3191: No Code Available | 2993: No Known Device Problem | 4119: Insufficient Information Available | 3221: No Results Available Since No Evaluation Performed | 67: Unable To Confirm Complaint
2020-260591 |  |  | female |  | UNITED STATES | Other: Legal |  | 28-FEB-2020 | Serious Injury | General level of pain immediately after the procedure. 5 [PT: Procedural pain] To your knowledge have the devices done any of the following? Expelled [PT: Device expulsion] Metal Allergy [PT: Allergy to metals] Heart Palpitations [PT: Palpitations] Anxiety [PT: Anxiety] Panic Attacks [PT: Panic attack] Depression [PT: Depression] Memory Loss [PT: Amnesia] Forgetfullness [PT: Memory impairment] Mood Disorders [PT: Affective disorder] Suicidal Thoughts [PT: Suicidal ideation] Bacterial Vaginosis [PT: Bacterial vaginosis] Candida (Yeast Infections) [PT: Candida infection] Urinary Tract Infections [PT: Urinary tract infection] Bladder infections [PT: Cystitis] Boils [PT: Furuncle] Cysts [PT: Cyst] Excessive Sweating [PT: Hyperhidrosis] Hair Loss [PT: Alopecia] Muscle Spasms [PT: Muscle spasms] Migraines Severe [PT: Migraine] Paresthesia [PT: Paraesthesia] Dysmenonrrhea ( Painful Menstrual Cycle) [PT: Dysmenorrhoea] Dyspareunia (Painful Intercourse) [PT: Dyspareunia] Endometriosis [PT: Endometriosis] Menorrhagia [PT: Menorrhagia] Pelvic Inflammatory Disease (PID) [PT: Pelvic inflammatory disease] Pelvic Pain Sharp / Stabbing [PT: Pelvic pain] Menopause Symptoms [PT: Menopausal symptoms] Loss of Libido [PT: Loss of libido] Back Pain [PT: Back pain] Body Aches [PT: Pain] Joint Pain [PT: Arthralgia] Bloating [PT: Abdominal distension] Constipation [PT: Constipation] Diarrhea [PT: Diarrhoea] Frequent Urination [PT: Pollakiuria] Dental Issues [PT: Tooth disorder] Night Sweats [PT: Night sweats] Sleep Apnea [PT: Sleep apnoea syndrome] Vitamin D Deficiency [PT: Vitamin D deficiency] Weight Gain [PT: Weight increased] Chronic Fatigue Syndrome [PT: Chronic fatigue syndrome] Fibromyalgia [PT: Fibromyalgia] Raynaud's Syndrome [PT: Raynaud's phenomenon] Rheumatoid arthritis [PT: Rheumatoid arthritis] | ESS205 |  | 15-JAN-2007 | Yes | 21-NOV-2013 | 2502 |  | No | No | No | No | No | No |  | Yes | No | No | 09-NOV-2014 | 10-DEC-2020 | Not Returned to Manufacturer | 1994: Pain | 2993: No Known Device Problem | 4119: Insufficient Information Available | 3221: No Results Available Since No Evaluation Performed | 67: Unable To Confirm Complaint
2020-260593 |  |  | female |  | UNITED STATES | Other: Legal |  | 01-NOV-2016 | Serious Injury | havent been feeling well [PT: Malaise] Exploratory surgery [PT: Pelvic exploration] Removal of Adhesions (Scar tissue) [PT: Scar excision] Cyst drainage/removal [PT: Cyst removal] pain with the essure [PT: Pelvic pain] HSG confirmation test?-No [PT: Device monitoring procedure not performed] Heart Palpitations [PT: Palpitations] Memory Loss [PT: Amnesia] Mood Disorders [PT: Affective disorder] Bruising (Unexplained or Easily) [PT: Increased tendency to bruise] Bacterial vaginosis [PT: Bacterial vaginosis] Candida [PT: Candida infection] Cervicitis [PT: Cervicitis] Vaginitis [PT: Vaginal infection] Urinary Tract Infections [PT: Urinary tract infection] Bladder infections [PT: Cystitis] Inflammation [PT: Inflammation] Vaginal swelling [PT: Vulvovaginal swelling] Infection of the Cervix or Vagina [PT: Vaginal infection] Yeast Infections [PT: Vulvovaginal mycotic infection] Acne [PT: Acne] Twitching [PT: Muscle twitching] Muscle Spasms [PT: Muscle spasms] Abdominal Spasms [PT: Abdominal rigidity] Dysmenorrhea [PT: Dysmenorrhoea] Dyspareunia [PT: Dyspareunia] Menorrhagia [PT: Menorrhagia] Metrorrhagia [PT: Metrorrhagia] Bleeding / Spotting after sexual intercourse [PT: Coital bleeding] Foul Discharge [PT: Vaginal discharge] Ovarian Cysts [PT: Polycystic ovaries] Mittelschmerz [PT: Ovulation pain] Sexual Dysfunction (Unable to Orgasm / Feel Pleasure) [PT: Female sexual dysfunction] Loss of Libido [PT: Loss of libido] Hip Pain [PT: Arthralgia] Bloating [PT: Abdominal distension] Constipation [PT: Constipation] dental issues [PT: Tooth disorder] Metallic Taste [PT: Dysgeusia] DNC [PT: Uterine dilation and curettage] | ESS305 |  |  | Yes |  |  |  | No | No | No | No | No | No |  | Yes | No | No | 15-NOV-2014 | 10-DEC-2020 | Not Returned to Manufacturer | 1994: Pain | 2993: No Known Device Problem | 4119: Insufficient Information Available | 3221: No Results Available Since No Evaluation Performed | 67: Unable To Confirm Complaint
2020-260595 |  |  | female |  | UNITED STATES | Other: Legal |  | 01-NOV-2016 | Serious Injury | Autoimmune issue [PT: Autoimmune disorder] Chronic Pelvic Pain [PT: Pelvic pain] Dysmenorrhea [PT: Dysmenorrhoea] Dyspareunia [PT: Dyspareunia] : Menorrhagia [PT: Menorrhagia] | ESS305 |  |  | Yes |  |  |  | No | No | No | No | No | No |  | Yes | No | No | 12-DEC-2015 | 10-DEC-2020 | Not Returned to Manufacturer | 1994: Pain | 2993: No Known Device Problem | 4119: Insufficient Information Available | 3221: No Results Available Since No Evaluation Performed | 67: Unable To Confirm Complaint
2020-260600 |  |  | female |  | UNITED STATES | Other: Legal |  | 01-NOV-2016 | Serious Injury | 4 Days post op .... Most of my symptoms have disappeared! [PT: Adverse event] 3 yrs of problems..ohhhh I thought my Dr said 3 months of cramps... my bad! [PT: Dysmenorrhoea] Chemical Allergy / Sensitivity;Food Allergy / Sensitivity;Metal Allergy / Sensitivity [PT: Allergy to chemicals] Chemical Allergy / Sensitivity;Food Allergy / Sensitivity;Metal Allergy / Sensitivity [PT: Food allergy] Chemical Allergy / Sensitivity;Food Allergy / Sensitivity;Metal Allergy / Sensitivity [PT: Allergy to metals] Heart Palpitations;High Blood Pressure [PT: Palpitations] Heart Palpitations;High Blood Pressure [PT: Blood pressure increased] Anxiety / Panic Attacks;Depression;Diminished Brain Function;Memory Loss / Forgetfullness [PT: Anxiety] Anxiety / Panic Attacks;Depression;Diminished Brain Function;Memory Loss / Forgetfullness [PT: Depression] Anxiety / Panic Attacks;Depression;Diminished Brain Function;Memory Loss / Forgetfullness [PT: Amnesia] Anxiety / Panic Attacks;Depression;Diminished Brain Function;Memory Loss / Forgetfullness [PT: Organic brain syndrome] Urinary Tract Infections / Bladder infections [PT: Urinary tract infection] Urinary Tract Infections / Bladder infections [PT: Cystitis] Dry Skin;Excessive Sweating;Hair Loss [PT: Dry skin] Dry Skin;Excessive Sweating;Hair Loss [PT: Alopecia] Dry Skin;Excessive Sweating;Hair Loss [PT: Hyperhidrosis] Immune Issues [PT: Immune system disorder] Abdominal Spasms / Twitching / Kicking Sensation;Muscle Spasms [PT: Muscle spasms] Abdominal Spasms / Twitching / Kicking Sensation;Muscle Spasms [PT: Abdominal rigidity] Abdominal Spasms / Twitching / Kicking Sensation;Muscle Spasms [PT: Muscle twitching] Dizziness;Migraines Severe;Paresthesia (Sensation of burning, stinging, prickling of skin) [PT: Dizziness] Dizziness;Migraines Severe;Paresthesia (Sensation of burning, stinging, prickling of skin) [PT: Migraine] Dizziness;Migraines Severe;Paresthesia (Sensation of burning, stinging, prickling of skin) [PT: Paraesthesia] Dysmenonrrhea ( Painful Menstrual Cycle);Dyspareunia (Painful Intercourse);Menorrhagia (Excessive Bleeding During Menstrual Cycle);Metrorrhagia (Bleeding Between Menstrual Cycle);Uterine Fibroids [PT: Dysmenorrhoea] Dysmenonrrhea ( Painful Menstrual Cycle);Dyspareunia (Painful Intercourse);Menorrhagia (Excessive Bleeding During Menstrual Cycle);Metrorrhagia (Bleeding Between Menstrual Cycle);Uterine Fibroids [PT: Dyspareunia] Dysmenonrrhea ( Painful Menstrual Cycle);Dyspareunia (Painful Intercourse);Menorrhagia (Excessive Bleeding During Menstrual Cycle);Metrorrhagia (Bleeding Between Menstrual Cycle);Uterine Fibroids [PT: Menorrhagia] Dysmenonrrhea ( Painful Menstrual Cycle);Dyspareunia (Painful Intercourse);Menorrhagia (Excessive Bleeding During Menstrual Cycle);Metrorrhagia (Bleeding Between Menstrual Cycle);Uterine Fibroids [PT: Metrorrhagia] Dysmenonrrhea ( Painful Menstrual Cycle);Dyspareunia (Painful Intercourse);Menorrhagia (Excessive Bleeding During Menstrual Cycle);Metrorrhagia (Bleeding Between Menstrual Cycle);Uterine Fibroids [PT: Uterine leiomyoma] Bleeding / Spotting after sexual intercourse [PT: Coital bleeding] Pelvic Pain Sharp / Stabbing;Premenstrual Dysphoric Disorder (PMDD);Sexual Dysfunctio;Vulvodynia (itching, burning, stinging, stabbing at vaginal entrance);Loss of Libido [PT: Pelvic pain] Pelvic Pain Sharp / Stabbing;Premenstrual Dysphoric Disorder (PMDD);Sexual Dysfunctio;Vulvodynia (itching, burning, stinging, stabbing at vaginal entrance);Loss of Libido [PT: Premenstrual dysphoric disorder] Pelvic Pain Sharp / Stabbing;Premenstrual Dysphoric Disorder (PMDD);Sexual Dysfunctio;Vulvodynia (itching, burning, stinging, stabbing at vaginal entrance);Loss of Libido [PT: Sexual dysfunction] Pelvic Pain Sharp / Stabbing;Premenstrual Dysphoric Disorder (PMDD);Sexual Dysfunctio;Vulvodynia (itching, burning, stinging, stabbing at vaginal entrance);Loss of Libido [PT: Vulvovaginal pain] Pelvic Pain Sharp / Stabbing;Premenstrual Dysphoric Disorder (PMDD);Sexual Dysfunctio;Vulvodynia (itching, burning, stinging, stabbing at vaginal entrance);Loss of Libido [PT: Loss of libido] Back Pain;Body Aches / Pain;Joint Pain [PT: Back pain] Back Pain;Body Aches / Pain;Joint Pain [PT: Arthralgia] Back Pain;Body Aches / Pain;Joint Pain [PT: Pain] Bloating;Gastroesophageal Reflux Disease (GERD);Nausea / Vomitting [PT: Abdominal distension] Bloating;Gastroesophageal Reflux Disease (GERD);Nausea / Vomitting [PT: Gastrooesophageal reflux disease] Bloating;Gastroesophageal Reflux Disease (GERD);Nausea / Vomitting [PT: Nausea] Bloating;Gastroesophageal Reflux Disease (GERD);Nausea / Vomitting [PT: Vomiting] Frequent Urination / Urgency;Kidney Issues [PT: Pollakiuria] Frequent Urination / Urgency;Kidney Issues [PT: Renal disorder] Dental Issues;Night Sweats;Weight Gain [PT: Tooth disorder] Dental Issues;Night Sweats;Weight Gain [PT: Weight increased] Dental Issues;Night Sweats;Weight Gain [PT: Night sweats] Blurry Vision, Double Vision to the side. Muscle fatigue, generalized Fatigue, shortness of breath, allergies to things I didn't have before, chronic nasal drainage [PT: Vision blurred] Blurry Vision, Double Vision to the side. Muscle fatigue, generalized Fatigue, shortness of breath, allergies to things I didn't have before, chronic nasal drainage [PT: Muscle fatigue] Blurry Vision, Double Vision to the side. Muscle fatigue, generalized Fatigue, shortness of breath, allergies to things I didn't have before, chronic nasal drainage [PT: Fatigue] Blurry Vision, Double Vision to the side. Muscle fatigue, generalized Fatigue, shortness of breath, allergies to things I didn't have before, chronic nasal drainage [PT: Dyspnoea] Blurry Vision, Double Vision to the side. Muscle fatigue, generalized Fatigue, shortness of breath, allergies to things I didn't have before, chronic nasal drainage [PT: Hypersensitivity] Blurry Vision, Double Vision to the side. Muscle fatigue, generalized Fatigue, shortness of breath, allergies to things I didn't have before, chronic nasal drainage [PT: Upper-airway cough syndrome] | ESS305 |  | 26-OCT-2012 | Yes | 16-JUN-2015 | 963 |  | No | No | No | No | No | No |  | Yes | No | No | 25-APR-2015 | 10-DEC-2020 | Not Returned to Manufacturer | 1994: Pain | 2993: No Known Device Problem | 4119: Insufficient Information Available | 3221: No Results Available Since No Evaluation Performed | 67: Unable To Confirm Complaint
2020-260601 |  |  | female |  | UNITED STATES | Other: Legal |  | 01-NOV-2016 | Serious Injury | I haven't really been on top for like 2 months because it hurts too much [PT: Dyspareunia] I can't even orgasm anymore because all the cramping and stabbing pains hurt too much [PT: Anorgasmia] I can't even orgasm anymore because all the cramping and stabbing pains hurt too much. [PT: Abdominal pain lower] I can't even orgasm anymore because all the cramping and stabbing pains hurt too much.Essure removal [PT: Pelvic pain] My iron is ridiculously low. [PT: Blood iron decreased] Dr didn't think it was essure causing all my problems either. [PT: Adverse event] Adenomyosis.Has anyone developed this with Essure?(Yes,I did) [PT: Adenomyosis] | ESS305 |  |  | Yes |  |  |  | No | No | No | No | No | No |  | Yes | No | No |  | 10-DEC-2020 | Not Returned to Manufacturer | 1994: Pain | 2993: No Known Device Problem | 4119: Insufficient Information Available | 3221: No Results Available Since No Evaluation Performed | 67: Unable To Confirm Complaint
2020-260606 |  |  | female |  | UNITED STATES | Other: Legal |  | 01-NOV-2016 | Serious Injury | My head explodes with pain. [PT: Headache] I now display lupus and MS symptoms [PT: Multiple sclerosis] I now display lupus and MS symptoms [PT: Lupus-like syndrome] swelling [PT: Swelling] stabbing pain [PT: Pelvic pain] my scalp sores [PT: Skin lesion] my hair thinning [PT: Alopecia] my face is patchyand flaky [PT: Skin exfoliation] dandruff [PT: Dandruff] itches [PT: Pruritus] chronic migraines [PT: Migraine] Tremors of hand [PT: Tremor] vision problems [PT: Visual impairment] memory issues [PT: Memory impairment] degenerative disease [PT: Angiopathy] extra weight [PT: Weight increased] frustration [PT: Frustration tolerance decreased] | ESS305 |  |  | Yes |  |  |  | No | No | No | No | No | No |  | No | No | No | 22-FEB-2016 | 10-DEC-2020 | Not Returned to Manufacturer | 1994: Pain | 2993: No Known Device Problem | 4119: Insufficient Information Available | 3221: No Results Available Since No Evaluation Performed | 67: Unable To Confirm Complaint
2020-260608 |  |  | female |  | UNITED STATES | Other: Legal |  | 01-NOV-2016 | Serious Injury | I had my tubes removed on Jan 20th , (had jus the coils removed) [PT: Medical device removal] Has anyone else loose there sex drive, I have no interest in sex [PT: Loss of libido] | ESS305 |  | ??-???-2013 | Yes |  |  |  | No | No | No | No | No | No |  | No | No | No | 10-APR-2015 | 10-DEC-2020 | Not Returned to Manufacturer | 3191: No Code Available | 2993: No Known Device Problem | 4119: Insufficient Information Available | 3221: No Results Available Since No Evaluation Performed | 67: Unable To Confirm Complaint
2020-260609 |  |  | female |  | UNITED STATES | Other: Legal |  | 01-NOV-2016 | Serious Injury | Numbness and tingling on my leftside [PT: Hemianaesthesia] Numbness and tingling on my leftside [PT: Paraesthesia] Pain in my chest and arm. [PT: Chest pain] pain in arm [PT: Pain in extremity] Hot and cold sweats [PT: Hyperhidrosis] Twitching by my noseand my left finger [PT: Muscle twitching] Twitching by my noseand my left finger [PT: Muscle twitching] panic attack [PT: Panic attack] had blood pressure being high [PT: Hypertension] hips pain [PT: Arthralgia] I bled for 14 months ended up having emergency blood transfusion [PT: Genital haemorrhage] I was instantly in pain. [PT: Procedural pain] dizziness lightheaded [PT: Dizziness] shortness of breath [PT: Dyspnoea] pass very large blood clots [PT: Menstrual disorder] am anemic [PT: Anaemia] makes me sick [PT: Illness] weight gain [PT: Weight increased] unexplained brusing [PT: Contusion] sleep apnea [PT: Sleep apnoea syndrome] have no back teeth top or bottom [PT: Tooth loss] Kick filling in stmach [PT: Feeling abnormal] | ESS305 |  | ??-???-2012 | No |  |  |  | No | No | No | No | No | No |  | No | No | No | 11-NOV-2015 | 10-DEC-2020 | Not Returned to Manufacturer | 1888: Hemorrhage | 2993: No Known Device Problem | 4119: Insufficient Information Available | 3221: No Results Available Since No Evaluation Performed | 67: Unable To Confirm Complaint
2020-260615 |  |  | female |  | UNITED STATES | Other: Legal |  | 01-NOV-2016 | Serious Injury | Also I have 2 girls I went to high school with . One needed emergency hysterectomy but one coil in bowel [PT: Device dislocation] | ESS305 |  |  | Yes |  |  |  | No | No | No | No | No | No |  | Yes | No | No | 06-OCT-2015 | 10-DEC-2020 | Not Returned to Manufacturer | 2687: Foreign Body In Patient | 2993: No Known Device Problem | 4119: Insufficient Information Available | 3221: No Results Available Since No Evaluation Performed | 67: Unable To Confirm Complaint
2020-260624 |  |  | female |  | UNITED STATES | Other: Legal |  | 01-NOV-2016 | Serious Injury | Device Removal, Removal of ovary or Ovaries, d and c [PT: Medical device removal] | ESS305 |  | 01-NOV-2012 | Yes | 09-JUN-2015 | 950 |  | No | No | No | No | No | No |  | No | No | No |  | 10-DEC-2020 | Not Returned to Manufacturer | 3191: No Code Available | 2993: No Known Device Problem | 4119: Insufficient Information Available | 3221: No Results Available Since No Evaluation Performed | 67: Unable To Confirm Complaint
2020-260634 |  |  | female |  | UNITED STATES | Other: Legal |  | 01-NOV-2016 | Serious Injury | If you are having your Essure coils removed INSIST on seeing the coils. My daughter had a hysterectomy and they are not noted in the medical record. [PT: Medical device removal] She is now having GI issues [PT: Gastrointestinal disorder] | ESS305 |  |  | Yes |  |  |  | No | No | No | No | No | No |  | No | No | No |  | 10-DEC-2020 | Not Returned to Manufacturer | 3191: No Code Available | 2993: No Known Device Problem | 4119: Insufficient Information Available | 3221: No Results Available Since No Evaluation Performed | 67: Unable To Confirm Complaint
2020-260635 |  |  | female |  | UNITED STATES | Other: Legal |  | 01-NOV-2016 | Serious Injury | [Essure]; I have a friend that had major medical issues because of this. She just had surgery to remove it along with a complete hysterectomy. [PT: Adverse event] | ESS305 |  |  | Yes |  |  |  | No | No | No | No | No | No |  | No | No | No |  | 10-DEC-2020 | Not Returned to Manufacturer | 3191: No Code Available | 2993: No Known Device Problem | 4119: Insufficient Information Available | 3221: No Results Available Since No Evaluation Performed | 67: Unable To Confirm Complaint
2020-261485 |  |  | female |  | UNITED STATES | Other: Legal |  | 01-NOV-2016 | Serious Injury | low vit. D since Ehell [PT: Vitamin D deficiency] I have swelling that pushes my lungs [PT: Pneumonitis] 2 weeks post operation [PT: Medical device removal] peeing every 5 min [PT: Pollakiuria] | ESS305 |  |  | Yes |  |  |  | No | No | No | No | No | No |  | No | No | No |  | 10-DEC-2020 | Not Returned to Manufacturer | 3191: No Code Available | 2993: No Known Device Problem | 4119: Insufficient Information Available | 3221: No Results Available Since No Evaluation Performed | 67: Unable To Confirm Complaint